SunBuild Energy Infra Pvt. Ltd.

CIN: U40106GJ2011PTC065123

BID RESPONSE
for
Tender Ref. GSPCL/SOLAR/2026/EPC-014
Design, Supply, Installation, Testing & Commissioning of 5 MW Grid-Connected Solar PV Power Plant with 5-Year O&M

| Field | Details |
| --- | --- |
| Bidder Reference | RESPONSE_DOC_S1 |
| Company Name | SunBuild Energy Infra Pvt. Ltd. |
| Date of Submission | 10-Mar-2026 |
| Overall Status (as of Evaluation) | TECHNICALLY QUALIFIED - Financial Bid Opened |

# 1. Cover Letter & Understanding of Scope

SunBuild Energy Infra Pvt. Ltd. confirms having read and understood the complete Scope of Work, Technical Requirements, Commercial Requirements, and Terms & Conditions set out in the Tender Document GSPCL/SOLAR/2026/EPC-014, and hereby submits its offer for the Design, Supply, Installation, Testing & Commissioning of the 5 MW Grid-Connected Solar PV Power Plant at Village Bhachau, Kutch District, along with 5-Year Comprehensive O&M, on the terms set out herein.

# 2. Eligibility Compliance Statement

| Criteria | Bidder Submission |
| --- | --- |
| EC-1: Average Annual Turnover (last 3 FY) | ₹18.4 Cr / ₹20.1 Cr / ₹21.7 Cr ¦ Average: ₹20.07 Cr |
| EC-2: Relevant Experience | 4 completed solar EPC projects: 2.5 MW (Rajkot, 2021), 3 MW (Bhuj, 2022), 2.2 MW (Surendranagar, 2023), 4 MW (Patan, 2024) |
| EC-4: Quality Certifications (ISO) | ISO 9001:2015 (valid to 2027), ISO 14001:2015 (valid to 2027), ISO 45001:2018 (valid to 2026) - all submitted |
| EC-7: EMD | ₹75,00,000 Bank Guarantee, HDFC Bank, valid 200 days - CONFORMS |
| Overall Eligibility Determination | COMPLIANT - all criteria met |

# 3. Technical Evaluation Summary

Technical Score Awarded by Evaluation Committee: 82 / 100 (Qualifying threshold: 60/100)

Strong execution methodology and manpower plan; minor deduction for less-detailed SCADA architecture description.

# 4. Deviations from Tender Requirements

| Clause / Requirement | Deviation Stated | Evaluation Committee Assessment |
| --- | --- | --- |
| Module Warranty | 22 years linear performance offered instead of 25 years | Minor - recommended for waiver by Evaluation Committee subject to price/performance justification |

# 5. Clarifications Sought & Bidder Responses

| Ref. | Clarification Sought by GSPCL | Bidder Response |
| --- | --- | --- |
| CL-1 | Clarify BOS pricing discrepancy between Technical & Financial Bid summary | Confirmed; corrected Financial Bid resubmitted with revised Total Bid Value |

# 6. Stage-wise Bid Value

## Stage 1 - Initial Financial Bid (as submitted on 10-Mar-2026)

Total Base Price: ₹18,20,00,000   |   GST @ 13.8%: ₹2,51,16,000   |   Total Bid Value: ₹20,71,16,000

## Stage 2 - Final / Revised Bid Value (post clarification / negotiation, if any)

Arithmetic correction in BOS component identified during clarification round; bidder submitted revised price schedule (Ref. Letter SBE/GSPCL/2026/07 dated 15-Mar-2026).

Final Total Base Price: ₹18,35,00,000   |   GST @ 13.8%: ₹2,53,23,000   |   Final Total Bid Value: ₹20,88,23,000

# 7. Remarks / Evaluation Committee Notes

Fully eligible, technically strong bid with one minor warranty deviation flagged for committee waiver consideration. Competitive pricing.