GreenVolt Power Systems Ltd.

CIN: U74999GJ2015PLC082456

BID RESPONSE
for
Tender Ref. GSPCL/SOLAR/2026/EPC-014
Design, Supply, Installation, Testing & Commissioning of 5 MW Grid-Connected Solar PV Power Plant with 5-Year O&M

| Field | Details |
| --- | --- |
| Bidder Reference | RESPONSE_DOC_S2 |
| Company Name | GreenVolt Power Systems Ltd. |
| Date of Submission | 10-Mar-2026 |
| Overall Status (as of Evaluation) | DISQUALIFIED AT TECHNICAL EVALUATION (also failed Eligibility Screening) |

# 1. Cover Letter & Understanding of Scope

GreenVolt Power Systems Ltd. confirms having read and understood the complete Scope of Work, Technical Requirements, Commercial Requirements, and Terms & Conditions set out in the Tender Document GSPCL/SOLAR/2026/EPC-014, and hereby submits its offer for the Design, Supply, Installation, Testing & Commissioning of the 5 MW Grid-Connected Solar PV Power Plant at Village Bhachau, Kutch District, along with 5-Year Comprehensive O&M, on the terms set out herein.

# 2. Eligibility Compliance Statement

| Criteria | Bidder Submission |
| --- | --- |
| EC-1: Average Annual Turnover (last 3 FY) | ₹7.8 Cr / ₹9.1 Cr / ₹10.4 Cr ¦ Average: ₹9.10 Cr |
| EC-2: Relevant Experience | 2 completed solar EPC projects: 1.8 MW (Ahmedabad, 2022), 2.1 MW (Mehsana, 2023). Bidder claims support of parent company GreenVolt Global Ltd. (unregistered JV, no notarized agreement submitted). |
| EC-4: Quality Certifications (ISO) | ISO 9001:2015 (valid to 2026) submitted. ISO 45001:2018 certificate submitted was found EXPIRED (expiry 30-Sep-2025). ISO 14001:2015 not submitted. |
| EC-7: EMD | ₹75,00,000 Bank Guarantee, Axis Bank, valid 190 days - CONFORMS |
| Overall Eligibility Determination | NON-COMPLIANT - Average turnover ₹9.10 Cr is below the mandatory ₹15 Cr threshold (EC-1 failed); ISO 45001 expired and ISO 14001 missing (EC-4 failed) |

# 3. Technical Evaluation Summary

Technical Score Awarded by Evaluation Committee: 58 / 100 (Qualifying threshold: 60/100)

Score computed for record purposes only; falls below the 60-mark qualifying threshold. Weak project experience score and non-compliant certification score contributed to the shortfall.

# 4. Deviations from Tender Requirements

| Clause / Requirement | Deviation Stated | Evaluation Committee Assessment |
| --- | --- | --- |
| Eligibility - Turnover | Quoted average turnover ₹9.10 Cr against required ₹15 Cr | Major - Disqualifying |
| Eligibility - ISO 45001 | Expired certificate submitted | Major - Disqualifying |

# 5. Clarifications Sought & Bidder Responses

| Ref. | Clarification Sought by GSPCL | Bidder Response |
| --- | --- | --- |
| CL-1 | Requested to submit valid ISO 45001 and clarify JV/turnover support arrangement | No valid ISO 45001 provided within cure period; JV agreement not notarized/registered - clarification unsatisfactory |

# 6. Stage-wise Bid Value

## Stage 1 - Initial Financial Bid (as submitted on 10-Mar-2026)

Total Base Price: ₹16,55,00,000   |   (Financial Bid envelope not opened at this stage - see Section 4/5)

## Stage 2 - Final / Revised Bid Value (post clarification / negotiation, if any)

Financial Bid NOT opened as bidder failed both Eligibility Screening and Technical Evaluation minimum qualifying score.

Not applicable - bid was not carried forward to financial evaluation.

# 7. Remarks / Evaluation Committee Notes

Bid rejected. Quoted price of ₹16,55,00,000 (base) was the lowest indicative figure received but bid is non-responsive on eligibility and technical qualification grounds; not eligible for financial comparison.